Utilities Joint Health and Safety Committee

Minutes of Meeting on April 24, 2007

Held in room 113, Koffler Pharmacy Centre Bldg 134

8:00 a.m. until 12:35 p.m.

Attendance

Management Members			Union Members

Irfan Miraj C0-Chair				Sandy Habus CAW 2003 – Co Chair

Mohan Soondarlal, Manager, North		Dimitrious Vamvouras CAW 2003

Manuel da Costa, Property Management	Doug Colby S.M.W Local 30

Steve Bonner CAW 2003

James Leduc IBEW 353

Gurmel Multani CAW 2003 (1817)

Regrets

Management Members			Union Members

Boone Teek Lee				Dieter Pfeiffer	CAW 2003

Tony Kopteridis CAW 2003

Meeting called to order at 10:10am

Opening Remarks	James Leduc will be stepping down from the JHSC and also as the recording secretary. The alternate (Russ Carter) for the control shop will be attending the safety meetings in the future.

| Date First Introduced | Item | Old Business | Action |
| --- | --- | --- | --- |
| Dec. 2/03 | U-2 | Worker members would like to inquire as to how the Engineers historic asbestos exposure hours are recorded. Fred Newey to interview members. Meeting held and questionnaire finalized. Awaiting B. Dodds approval for interviews to start. Meeting scheduled for April 24/07 with B. Dodds. | I. Miraj |
| Feb. 03/04 | U-3 | Electrical panel directories at Walberg, Galbraith, and 1 Spadina. Concerns rose over the accuracy of labelling. Wallberg is scheduled first. Service order issued to investigate the 3 buildings. Investigation complete. Funding approved (30k) and work commencing in the Wallberg Bldg. Wallberg building has started to give a better idea on overall cost. Identified under deferred maintenance as a phased project. Ongoing. | V. Mehta R. Cheung A. Fok |
| May 11/04 | U-4 | Worker members would like to request that the U of T implement a mercury control program as per Reg. 844-sec. 3(1) as well as a designated substance inventory list for all designated substances. No program at this time. A draft “SAFE TO WORK” tag has been submitted to Trades Management, Utilities and Property Management to review and provide input. Input received. Faculty input being sought before implementation. Final version to be provided to committee. Report to be forwarded before next months meeting in May /07 otherwise MOL to be contacted. | M. Fung |
| Nov. 2/04 | U-6 | Worker members would like to request a checklist be created and provided for trades and utilities working in type I or type II asbestos conditions. Awaiting feedback from Management, some fine tuning required. Environmental Health and Safety to implement completed checklist. Checklist will be added to procedures and will also be included in the training sessions. EH&S to officially implement this for Facilities and Services. Margaret Fung to e-mail all managers about this new checklist. Ongoing. | M. Fung I. Miraj |
| Feb. 7/06 | U-7 | Worker members would like to express concerns regarding structural integrity of the Innis parking garage, level P3 southwest mechanical room as the ceiling is cracked and the conduit in the named room is bending. Property Manager and Chair Person to investigate. New inspection of area in question to be scheduled. Structural engineer will be retained to investigate. Ongoing. Awaiting report from hired consultant. | A. Keszei R. Cheung |
| Mar. 7/06 | U-10 | Worker members would like to request copies of and training as per the new Confined Space Regulations, and would also recommend that no confined space work be carried out without the approval of EH & S. Regulations supplied, training to follow. (All items regarding confined space #424, 457 and 483 to be dealt with as one item). Draft procedure is developed, Management has been consulted. Looking at training dates to start soon for confined space. EH&S MANAGEMENT TO MEET WITH UTILITIES MANAGEMENT TO APPROVE PROCEDURE FOR CONFINED SPACE WORK. In final stages of planning. | M. Fung B. Dodds |
| July 11/06 | U-15 | Worker members would like to request information on the status of monthly JHSC inspection deficiencies from utilities north area and south west area. Reports received from the North area. South West area ongoing and to have inspection report available for next JHSC meeting. Ongoing. | M. Soondarlal I. Miraj |
| Sept. 5/06 | U-18 | Worker members would like to request the Standard Operating Procedure for asbestos be updated to reflect the new asbestos regulations from 2005. Minor changes to be made once revisions to U of T Asbestos Control Program, presently under review, are finalised. Ongoing. | M. Fung I. Miraj |
| Oct. 2/06 | U-21 | Worker members would like to request a list of all Asbestos training Offered in 2006. EH&S to contact Management. Line Managers responsibility. Managers to send employee list to Margaret Fung to see what she can do. Managers to training information of employees from EH&S website, M. Fung to at attendance records for the balance. | M. Fung |
| Oct. 2/06 | U-22 | Worker members would like to request all training statistics of each Union on an individual basis, (Sheet Metal Workers Local 30, Control Techs IBEW Local 353, and CAW Local 2003). It is also requested that this information be forwarded to the respective JHSC representative. Ongoing. Managers to training information of employees from EH&S website, M. Fung to at attendance records for the balance. | I. Miraj M. Fung |
| Oct. 2/06 | U-24 | Worker members would like to request that EH&S provide training to workers to meet the new confined space regulations. To be scheduled in Dec. 06. Ongoing. No schedule as of yet. No work being done on campus. | I. Miraj M. Fung |
| Oct. 2/06 | U-27 | Worker members would like to request the Wallberg Building, safety relief valves located in room #32 be piped outside, to meet TSSA requirements. Awaiting decision from COPC. Funding approved, tender out to mechanical consultant. Ongoing. | M. Soondarlal I. Miraj |
| Oct. 2/06 | U-28 | Worker members would like to request a survey of all safety valves on campus, related to the University steam system, to locate valves not piped outside. Survey complete awaiting COPC decision. Funding approved and awaiting tender for mechanical consultant. Ongoing. | M. Soondarlal I. Miraj |
| Oct. 2/06 | U-29 | Worker members would like to request EH&S develop a mandatory laboratory decommissioning procedure, prior to the re-assignment of laboratories to prevent workers from potentially contaminated equipment. Radiation and Bio-Safety to investigate. Ongoing. No procedure as of yet. | M. Fung |
| Nov. 7/06 | U-30 | Worker members would like to request the water leak in the ceiling in mechanical room #045 in the Edward Johnson Building be located and repaired. This has been passed on to Property Management. Ongoing. | M. Soondarlal R Cheung |
| Feb. 07/07 | U-35 | Worker Co-Chair requested the report from consultants on confined spaces. Did not receive as of yet from Management. No report as of yet. | I. Miraj |
| Mar. 29/07 | U-42 | Worker members would like to know what is the justification for installing portable eyewash stations as opposed to permanent eyewash stations. Ongoing. | I. Miraj M. Soondarlal |
| Mar. 29/07 | U-43 | Worker members would like an investigation with worker member participation into the Varsity ammonia leak incident. Meeting to be arranged ASAP. | I. Miraj M. Soondarlal |
| Mar. 29/07 | U-44 | Worker members would like all H&S operational procedures collected and complied into binder form & disturbed to all areas. Ongoing. | I. Miraj M. Soondarlal |
| Mar. 29/07 | U-45 | Worker members request U of T comply with Section 42 subsection 3 of OHSA. I. Miraj to schedule meeting with Managers. | I. Miraj M. Soondarlal |
| Mar. 29/07 | U-46 | Worker members would like an investigation into why the freon detector was unplugged at Warren Stevens on March 24 /07. Investigation to begin and waiting for date ASAP. | I. Miraj M. Soondarlal |
| Mar. 29/07 | U-47 | Worker members would like all areas to have portable freon detectors available & training provided. Ongoing. | I. Miraj M. Soondarlal |
| Mar. 29/07 | U-49 | Worker members would like the Bio-hazard training available to them as engineers are entering Bio-hazardous areas. Ongoing and training to be arranged. | I. Miraj M. Soondarlal |
| Mar. 29/07 | U-50 | Worker members would like the smoke evacuation system at Davenport corrected as soon as possible. The request by Fire Marshall in 2006 to be complied with. Ongoing. Tests are taking place. | I. Miraj M. Soondarlal |
| Mar. 29/07 | U-53 | Worker members would like clarification on new safety valves on steam installations in regards to small port hole on side of valve as what to do with. Ongoing. | I. Miraj M. Soondarlal |

| Date First Introduced | Item | New Business | Action |
| --- | --- | --- | --- |
| April 24/07 | U-54 | Worker members would like to know why “strange odour smells” calls are not being directed to Fire Prevention also. | I. Miraj M. Soondarlal |
| April 24/07 | U-55 | Worker members would like to know why the sign-in procedure in the steam plant is not being followed by management. | I. Miraj M. Soondarlal |
| April 24/07 | U-56 | Worker members would like to request a digital camera to be issued to each worker member of the committee to assist in the duties of the JH&S activities. | I. Miraj M. Soondarlal |
| April 24/07 | U-57 | Worker members would like to know why the “emergency shut-off valves” location signs are not yet installed. | I. Miraj M. Soondarlal |
| April 24/07 | U-58 | Worker members are asking why alternate representative from South West Area was not released in time to attend the safety meeting. | I. Miraj M. Soondarlal |
| April 24/07 | U-59 | Worker members would like to request how or what the procedure is to putting items on deferred maintenance related to safety issued brought forward by the worker members. | I. Miraj M. Soondarlal |
| April 24/07 | U-60 | Worker members would like to request why investigations are not being dealt with as a priority. Why is EH&S not responding in a timely manner | I. Miraj M. Soondarlal |

| Date first Introduced | Item | Deferred Maintenance Utilities Division responsibility |
| --- | --- | --- |
| Oct. 9/94 | #2 | McMurrich Bldg. Sump Pumps - Conversion of pumps from sewage pit to surface mounted pumps. Consultant hired Sept. /05 to investigate relocation of pumps. Drawings reviewed, changes to be made & will be sent for tender. Awaiting estimate for project. |
| Sept. 5/00 | #3 | Mechanical Rooms with chillers - Freon sensing alarms requested to detect leaks. Researching systems and obtaining quotes.(see item #322) |
| May 2/00 | #5 | MSB - Perchloric Acid Fume hood Stacks - Check sealants used on stacks for compatibility, on 9th floor of MSB. |
| June 5/02 | #6 | ESC - Catwalk requested over round chillers to safely access sensors and gauges. |
| Jan. 13/04 | #7 | Campus wide utility rooms to be re-keyed to regain security through key control. |
| Aug. 5/03 | #193 | Worker members request power source testing to be done on Freon alarms. They should be on an emergency power source also. Code does not require emergency power. But emergency power will be looked into. Design and Construction to be add Freon alarms on emergency power to all new construction and renovation work. Estimates received, cost of approximately $3500 to $4000 per unit (5 existing units). Requesting funding. To be added to deferred maintenance. (see item #322) |

| Date First Introduced | Item | Removed from minutes | Action |
| --- | --- | --- | --- |
| May 7/03 | U-1 | Worker members would like to request that all lead hands, fore-persons, supervisors and managers (including Property Managers and Project Managers) receive enhanced asbestos training. Asbestos Training (module 3) has been delayed. Procedures and policy to be revised, training to be scheduled in Sept. 06. 21 day letter was sent and training was agreed to in 2004. Training scheduled for 3rd week of November (Modules 1, 2 and 3). Training started in Dec. /06 more to come. | COMPLETED |
| June 6/06 | U-13 | Worker members would like to request that the CNS group (Computer Network Support) check in with the building engineers, prior to entering the mechanical rooms, as posted on the mech. room doors. Margaret Fung to inform CNS group that they must check in with operating engineers prior to entering mech. areas, during meeting discussing asbestos. Meeting to be scheduled between Margaret Fung and the CNS department. CNS department has not responded to EH&S. Sent manager to training. Bruce Dodds to e-mail the Manager of CNS Group to let them know to phone before entry into mechanical room. Email sent by B. Dodds and received by Co-Chair | COMPLETED |
| July 11/06 | U-14 | Worker members would like to request EH&S apply to WSIB for full certification cards for all committee members that have completed 3 level 2 certification courses. To be completed in Oct. /06. WSIB has been contacted for information, awaiting reply. Margaret to look into James Leduc’s status of WSIB certification. Papers received, filled by J. Leduc and returned to M. Fung. | COMPLETED |
| Sept. 5/06 | U-20 | Worker members would like to request that monthly safety meetings begin in the Central Steam Plant. To be scheduled in Nov. /06. Meetings to be scheduled every 5 weeks when Dimitri Vamvouras is on day shift maintenance. Schedule to start week of April 30/07. | COMPLETED |
| Oct. 2/06 | U-25 | Worker members would like to request standard first aid training and first aid refresher training for workers who have expired certificates. Dates for refresher training will be established once enrolment numbers are met. More training needed, April training schedule to come from Irfan. Will start May 2/07 and to be ongoing. | COMPLETED |
| Nov. 7/06 | U-31 | Worker members would like to request the removal of all of the mould from the piping systems in the Edward Johnson mechanical room #045. To be completed by next meeting as work being done now. Removed and reinsulated. | COMPLETED |
| Nov. 7/06 | U-32 | Worker members would like to request the installation of proper construction site barriers between Zoology and Sid Smith (parking area) with specific protection from falling hazards. Irfan to contact Raul about cover. According to email from R. Holmes (Ellis Don), procedures are being followed as per MOL. | COMPLETED |
| Nov. 7/06 | U-33 | Worker members would like to request the 1 Spadina loading dock be repaired of trip hazards specifically the uneven concrete. James to meet with Manuel to look at loading dock. Patch identified and to be repaired week of April 30/07. | COMPLETED |
| Feb. 07/07 | U-41 | Terms of Reference for the new JHSC were worked on and will be discussed in future pre- meetings. Some changes were given to management by e-mail for their approval. | COMPLETED |
| Mar. 29/07 | U-48 | Worker members request review of life safety designated areas in MSB Mechanical Area. Signs removed. | COMPLETED |
| Mar. 29/07 | U-51 | Worker members would like to request safety meeting to review Terms of Reference for the JHSC on Wednesday April 4th /07 at 1:00PM that were provided by Management for review. Meeting held. | COMPLETED |
| Mar. 29/07 | U-52 | Co-Chair from Management would like to announce Irfan Miraj as the new Co-Chair for Management. | COMPLETED |

Distribution List

Utilities Members -                 Bruce Dodds (1)                     Dieter Pfeiffer (3)

Attila Keszei (1)		James LeDuc (4) (2513)

Luiz De Carvalho (1)               Boon Teak Lee (2)

Chun Lee (1)                           Tony Kopteridis (3) (0421)

Mohan Soondarlal (1)             Sandy Habus (3) (2371)

John Jankowski (2)                 Jeff Schenk (1)

Vikas Mehta (2)                      Irfan Miraj(1)

Dimitri Vamvouras (1)            Andy Fok(1)

Erik Ivanenko (2)

Doug Colby (2)(c# 416-791-9998)(m#0041)

Building Services -                 Gary Nower, Dir (1)               Karen Spence (1)

Ray Cheung (2)                       Patrick Ryan (2)

Capital Projects D&C	Nick Zouravlioff(1)

Henton Hung (1)

EH & S 	Peter Nicoll, Director EH&S (1)

Margaret Fung, Manager EH&S (1)

Facilities & Services - 	Ron Swail, Assistant Vice-President (1)

Meeting adjourned at 12:30pm.      Minutes recorded by:  James Leduc

Minutes copied and prepared for distribution by:  Hilda Andrade

_________________________________             _____________________________

Irfan Miraj, Management Co-Chair Rep.		Sandy Habus, Worker Co-Chair Rep.

Date Signed:  __________________	   	Date Signed:  __________________

**** Signature copy available for review at Utilities Division Reception ****

Next meeting – 	Thursday May 31, 2007 from 8:00 a.m. – 12: 00 noon.

Location: TBA